# Monterey County Health Department Environmental Health Bureau

1270 Natividad Road, Salinas, CA 93906 (831) 755-4505

# New Employee Housing Facilities

Considering an Employee Housing Facility on your property? Read on to learn more about the various project components that the Environmental Health Bureau (EHB) will review prior to recommending approval of planning or construction permits.

Based on EHB’s experience with facilitating employee housing applications, potable water and domestic wastewater disposal are the primary constraints that must be addressed to move forward in the development process. The following details should be thought out in detail before approaching the County with a potential project proposal.

* How many occupants do you anticipate?
* How many units do you anticipate?
* How will food service be provided (i.e. a kitchen in each unit, a mess hall, etc.)?
* Will there be onsite laundry facilities? If so, available in each unit or in a centralized location?
* How will restrooms and showers be configured? For example, a conventional bathroom in the unit, a separate restroom/shower facilities from sleeping quarters, etc.)

## What qualifies as Employee Housing?

In general, employee housing is privately-owned housing that houses five (5) or more employees and meets the following:

* Living quarters provided in connection with any work, whether or not rent is involved.
* Housing in a rural area that is:
  + Provided by someone who is not an agricultural employer, and
  + Provided for agricultural workers employed by any agricultural employer.

## HCD-Planning Department

Before you invest too much time or money into your concept, it is important to confirm that employee housing is an allowed use on your property, and the extent that would be allowed. Contact the HCD-Planning Department, (831) 755-4505, to speak with a Permit Technician or the Planner of the Day.

## Onsite Wastewater Treatment System (OWTS Septic System)

It is important to note that the Monterey County Health Department, Environmental Health Bureau (EHB), has received approval of the Local Agency Management Program (LAMP) in May 2018. Monterey County Code, Chapter 15.20, Sewage Disposal, has been amended to incorporate the standards and requirements of LAMP for OWTS permit issued after May 11, 2018.

A property’s capacity for onsite wastewater disposal is often limited by its acreage. Monterey County Code specifies that no more than 40 grams of nitrogen from domestic wastewater shall be disposed onsite per acre per day. In general, this means that a site is limited to 4 occupants per acre unless supplemental treatment is

incorporated into the system to reduce nitrogen in the wastewater prior to subsurface dispersal. The following items are needed for EHB staff to assess the feasibility of a new OWTS.

* OWTS Feasibility Report (see Monterey County Code, Section 15.20.080 Site Evaluation and Soil Characteristics) at a minimum the report shall include:
* A minimum of one deep groundwater monitoring boring (Table 4 or 5 of Monterey County Code, Section 15.20.310, Soil Depth and Characteristics).
* A site evaluation, soil profile analysis and percolation testing shall be completed for each of the areas proposed to accommodate the required dispersal systems: primary dispersal field area and expansion area(s) (Monterey County Code, Section 15.20.080, Percolation Testing)
* When the project will generate more than 1,000 gallons of wastewater per day, the soil and percolation testing workplan should be submitted to the EHB for review and acceptance prior to commencing work to ensure sufficient data will be collected.
* When more than 2,500 gallons or more of wastewater is generated per day on the project site, a cumulative impact study shall be completed to evaluate potential impacts to groundwater, in accordance with Monterey County Code, Section 15.20.110, Standards for OWTS installation permit.
* OWTS (septic system) design by a qualified professional. Depending on the unit(s), kitchen, and laundry facilities, it likely that we will estimate 75 gallons of wastewater generation per occupant per day.
* If an existing OWTS on the property is slated for continued use, EHB will require that a performance evaluation (including minimum 30-minute hydraulic load test) be completed by a qualified OWTS professional to demonstrate the system is adequate to serve the proposed use. [The Performance Evaluation Guidelines](chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https:/www.countyofmonterey.gov/home/showpublisheddocument/104256/638502648005970000) and [OWTS Performance Evaluation Report Form](chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https:/www.countyofmonterey.gov/home/showpublisheddocument/77876/638502648480500000) are available here.

## Domestic (Potable) Water

It is important to understand that water source and permit requirements will vary depending on the size and extent of your proposed employee housing facility. Please review the [Water System Classification](https://www.co.monterey.ca.us/home/showdocument?id=48080) guide to help you understand the type of water system permit that may be required. The following information will provide foundational information, that is, the basic information necessary to determine if the water source is feasible to serve the development (a reliable, potable supply of water is required prior to EHB approval of any new construction permits that include plumbing).

* Well Completion Report. Please provide a copy of the well completion report and specify the APN and address associated with the well. Wells proposed to serve new water systems must be able to demonstrate that they have a minimum 50’ sanitary seal.
* Source Capacity Testing. Depending on the well’s construction and estimate source capacity, a Source Capacity Test may be required. To determine well yield for the new dwelling unit(s), the well shall first undergo a minimum 8-hour continuous source capacity test. A representative of the Environmental Health Bureau shall witness the source capacity tests. The applicant shall pay all associated fees to the Environmental Health Bureau. Application materials and further information is available on the website at: [http://www.mtyhd.org/water](https://www.co.monterey.ca.us/government/departments-a-h/health/environmental-health/drinking-water-protection/source-capacity-testing) (*search for: source capacity testing procedures for water wells).*
* Water Quality Testing (Title 22)

The following water samples need to be taken (new/current samples results are needed). [Analyses must](http://www.mtyhd.org/images/stories/Environmental_Health/WaterProt/pdf/Operator-lablist.pdf) [be performed by a lab certified by the State of California.](http://www.mtyhd.org/images/stories/Environmental_Health/WaterProt/pdf/Operator-lablist.pdf) This list also includes independent samplers you may hire to test for you. You may also have a third party pull the samples for you if they are knowledgeable in water sampling and have a professional license.

* + Coliform Bacteria Analysis
  + Primary Inorganic Chemical Analysis: Aluminum, antimony, arsenic, asbestos, barium, beryllium, cadmium, chromium, cyanide, fluoride, mercury, nickel, nitrate (NO3), nitrite, (NO2), perchlorate, selenium, and thallium. Asbestos and cyanide may be waived if determined to not be vulnerable.
  + Secondary Standards: Total dissolved solids, specific conductance, chloride, sulfate, calcium, magnesium, potassium, sodium, iron, manganese, carbonate, bicarbonate, hydroxide alkalinity, total hardness, MBAS, copper, zinc, silver, color, odor, turbidity, pH. MTBE and thiobencarb are also required but may be waived if determined to not be vulnerable.
  + Volatile Organic Chemical Analysis (community and nontransient-noncommunity systems only)
  + Synthetic Organic Chemical Analysis: Atrazine, Alachlor, Bentazon, Carbofuran, Diquat, Simazine, 2,4-D, and 1,2,3-Trichloroproane. (community and nontransient-noncommunity systems only).
  + Gross Alpha (community and nontransient-noncommunity systems only). Uranium and radium testing may also be required depending on gross alpha results.
  + Radium 228 (community systems only)
* Additional information will be required if the EHB determines that a water system permit is required. The table below provides a **very basic** overview of the requirements a water source must meet to serve new development or a water system.

**SUMMARY OF REQUIREMENTS FOR A NEW WATER SOURCE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Water Source / System Requirements** | **Private Well (No Permit Required)** | **Local or State Small Water System** | **Public Water System (PWS)** | |
| **Non-Community** | **Community** |
| Number of water sources required | 1 | 1 | 1 | 2 |
| Demonstrate compliance with Title 22 water quality standards | Required; primary contaminants (and secondary contaminants above the action level) only | Required; primary contaminants (and secondary contaminants above the action level) only | Required; primary contaminants (and secondary contaminants above the action level) only | Required; primary and secondary contaminants |
| Water Treatment System (if necessary) | Must be implemented to meet primary (and secondary if above the action level) water quality standards | Not Allowed – identify new source of supply | Must be implemented to meet primary (and secondary if above the action level) water quality standards | Must be implemented to meet primary and secondary water quality standards |
| Source Capacity | Required | Required | Required | Required |
| Agency with authority to issue the water system permit | Monterey County EHB | Monterey County EHB | Monterey County EHB in consultation with the DDW\*\* | Monterey County EHB in consultation with the DDW\*\* |
| Estimated time to obtain permit (once a complete application has been submitted) | Not applicable | 1-2 months | > 6 months | > 6 months |

\* This table is intended to provide a broad overview of potential requirements that may apply to your project but in no way shall be construed to replace of substitute for the standards set forth by Monterey County Code or Title 22 of the California Code of Regulations.

\*\* State Water Resource Control Board – Division of Drinking Water (DDW)

For additional information, please contact Ms. Cheryl Sandoval, Supervisor for Drinking Water Protection Services, at (831) 755-4452.

## Solid Waste Management, Recycling and Organic Waste Recycling

The EHB has two services that specialize in this area: Solid Waste Management Services and Recycling and Resource Recovery Services. The project will be required to have a contract with the franchise waste hauler, currently Waste Management, for regular garbage service. In addition, employee housing facilities are required to provide resources to allow the occupants to separate recyclables from other solid waste. Depending on the size of the employee housing facility (and the volume of waste it is estimated to generate), organic waste will also need to be separated into a different approved container. Organic waste consists of food waste, green waste, landscape and pruning waste, nonhazardous wood waste, and food-soiled paper waste that is mixed in with food waste. The facility will need to design an enclosure(s) to accommodate the solid waste, recycling and organic waste containers that are determined to be necessary.

You may obtain additional information related to solid waste management and recycling by visiting the [Monterey County EHB webpage for Multifamily Recycling](https://www.countyofmonterey.gov/government/departments-a-h/health/environmental-health/recycling/residential-waste/multifamily-recycling), through e-mail at [414-Recycle@countyofmonterey.gov](mailto:414-Recycle@countyofmonterey.gov), or by contacting Ms. Liz Hall of Waste Management at [EHall1@wm.com](mailto:EHall1@wm.com).

## Employee Housing Permit

An employee housing permit application will need to be filed and a corresponding plan check completed by the Healthy Housing Program of EHB prior to approval of construction permits. Please note that in the event, water, wastewater, or other project constraints preclude the issuance of construction permit, the fees associated with the Employee Housing plan check are non-refundable. This is one of the reasons we generally recommend that applicants evaluate the water and wastewater portions of the project as early in the process as possible.

You may visit [www.mtyhd.org/housing](http://www.mtyhd.org/housing) or contact our main office line, 831-755-4504, and ask to speak with our Healthy House Program to obtain additional information related to employee housing permits and plan check requirements.

## Request for Service

EHB staff will be glad to discuss your project concept. However, to assure that we continue to provide high quality service to applicants for ongoing projects, it is necessary that a Request for Service with paid deposit be submitted in order to meet or discuss with you for more than 15-30 minutes before you file the corresponding development permit application (planning or construction permit). [The Request for Service](http://www.co.monterey.ca.us/home/showdocument?id=24404) [form is available on the EHB website](http://www.co.monterey.ca.us/home/showdocument?id=24404); we recommend an initial deposit for 4 hours of time. Any portion of the deposit that is not accounted for will be refunded to you upon request. All requests are processed in the order they are received along with other onsite wastewater, construction, and planning permit applications.